## Project Information
Silicon Valley Power Lighting Rebate Calculator for Retrofits
Project and Site Information
Company Name
Project Name
Site Name
Address
Date
Notes
Introduction
The lighting rebate calculator is used to estimate energy savings and determine rebate amounts for energy efficient lighting measures. The calculator consists of two input sheets and a results sheet. Follow the instructions below to estimate the rebate for your project. The calculator must be submitted with the lighting rebate application to Silicon Valley Power. This calculator is for lighting retrofit projects. For projects where there is no existing lighting system or the existing lighting system no longer meets the needs of the building, the Silicon Valley Power New Construction Lighting Rebate Calculator must be used to estimate savings and rebates amounts. Examples include: newly constructed buildings, building additions, building or space end use changes (e.g., warehouse to office), and new tenant build-outs where a completely new lighting system is installed. Please consult with Silicon Valley Power efficiency program staff to determine which rebate calculator is appropriate for your retrofit project. Silicon Valley Power reserves the right to determine which calculator should be used for calculating rebates.
Instructions
The inputs are indicated by the light gray cells in the Schedules and Retrofit Input Table tabs. Each input cell has instructions that appear once selected. Review the Results tab once you have completed the Schedules and Retrofit Input Table tabs.
Schedules
Operating Schedules
Use the lighting schedule tables in the Schedules tab to estimate the lighting operating hours. Up to six lighting schedules may be entered in the Operating Schedules Table. The Exterior and 24/7 schedules are also included by default. The applicable lighting schedule can be selected in the Retrofit Input Table.
New Control Schedule
If there is an existing lighting control system in place, please enter an adjustment factor in the New Controls Schedule table. The factor will be subject to review and approval by Silicon Valley Power.
User-Defined Fixture Schedules (for pre-existing fixtures)
Enter fixtures not available in the default fixture list of the Retrofit Input Table into the User-Defined Fixture Schedules table. Submit cut sheets or other supporting data to Silicon Valley Power for review and approval.
Retrofit Input Table
Space ID, Building Type and Operating Schedule
Enter a description of the space and select a building type and operating schedule from the dropdown menus.
Pre-existing Description
Enter the quantity of pre-existing lamp that are being replace in the space. Select the pre-existing lamp type and description that is being replaced in the space or select "User-Defined" to manually enter fixture description and wattage. For default fixture lamp types, select the lamp description. Note this selection is based on the default lamp type selected. If you select a lamp description and then re-select a lamp type, you must also re-select the lamp description (otherwise the calculations will return #N/A). For user-defined fixtures, use the "User-Defined Fixture Schedule" table in the Schedules tab, provide a fixture/lamp description and the rated fixture wattage. Note: For user-defined fixtures, manufacturer specifications sheets or pictures must be submitted that substantiate the fixture power values. entered into the calculator.
Retrofit Description
Enter the quantity of retrofit lamps that are being installed in the space. Select the new lamp type (LED, HID, Fluorescent or Other) and enter the new fixture description and wattage. If new controls will be installed, in the Schedules tab under the "New Control Savings" section, enter the applicable control savings factor. In the Retrofit Input Table tab, select the applicable control type. If installing a network lighting control (NLC) system, select Approved NLC from the dropdown menu. The default savings factor for NLC system is 35%, but if you have a better estimate, please enter that number. NLC systems must be pre-approved by Silicon Valley Power. In addition, the percent savings factor is subject to adjustment based on post-installation measurement and verification. Rebates are paid on the post-installation adjusted savings.
Results
After all measures have been entered, view the Results tab to see the total estimate rebate amount, energy savings, peak demand reduction and annual CO2 pounds reduction for your project and summary of each measure. Note: The Retrofit Input Table and Measure Summary Table are sized to show the results for 30 measures. If the project has more than 30 measures, the table will need to be expanded. Submit a request to Silicon Valley Power and a calculator will be provided to meet your project's needs.
Version | 1.4.2024

## Schedules
Operating Schedules
Operating Schedules listed in this table are selectable in the Retrofit Input Table. Each input cell has instructions that appear when clicked on.
|  |  | Annual |  |  | Weekday |  |  | Weekend
Schedule | Operating Hours | Factor for Existing Controls | Weeks | Weekends | Number of Holidays & Shutdowns | Begins | Ends | # of days | Begins | Ends | # of days
Schedule_1 | 2256 | 0% | 52.143 | 52 | 10 | 0.33333 | 0.70833 | 5 |  |  | 0
Schedule_2 | 3143 | 0% | 52.143 | 52 | 10 | 0.29167 | 0.77083 | 5 | 0.29167 | 0.5 | 1
Schedule_3 | 4956 | 0% | 52 | 52 | 10 | 0.25 | 0.83333 | 5 | 0.25 | 0.83333 | 2
Schedule_4 | 2376 | 0% | 52 | 52 | 5 | 0.27083 | 0.625 | 5 | 0.27083 | 0.4375 | 1
Schedule_5 (Multiple) | 2846
1st Schedule | 2760 | 0% | 48 | 0 | 10 | 0.29167 | 0.79167 | 5 |  |  | 0
2nd Schedule | 36 | 0% | 2 | 2 | 5 | 0.29167 | 0.45833 | 5 | 0.91667 | 0.083333 | 2
3rd Schedule | 50 | 0% | 2 | 2 |  | 0.375 | 0.58333 | 4 | 0.375 | 0.58333 | 1
Schedule_Hours/Day | 3016 |  |  |  |  | Hours Per Day |  |  | Hours Per Day
|  | 0% | 52 | 4 | 10 | 12 |  | 5 | 4 |  | 1
Schedule_Exterior | 4100
Schedule_24x7 | 8760
New Control Schedule
Control types listed in this table are selectable in the Retrofit Input Table. Supporting data must be submitted to Silicon Valley Power for review and approval.
Name | Savings Factor | Description | Source of Savings Factor
Occupancy Sensor | Deemed savings % | Default savings factor based on building type | Silicon Valley Power
Approved NLC | 35%
Control Type 2 | 0%
Control Type 3 | 0%
Control Type 4 | 0%
Control Type 5 | 0%
None | 0%
User-Defined Fixture Schedules (for pre-existing fixtures)
Enter fixtures not available in the default fixture list of the Retrofit Input Table. Submit cut sheets or other supporting data to Silicon Valley Power for review and approval.
Fixture Description | Wattage | Source
LED Highbay | 300 | Manufacturer Spec Sheet

## Retrofit Input Table
Retrofit Input Table
[5 empty] | Pre-existing Description |  |  |  | Retrofit Description
Num | Space ID | Building Type | Operating Schedule | Hours | Quantity | Pre-existing Lamp Type | Pre-existing Fixture Description | Pre-existing Fixture Wattage | New Quantity | New Lamp Type | New Fixture Description | New Fixture Wattage | New Control Type | Control Savings Factor | Prexisting Energy Use (kWh) | Post-Retrofit Energy Use (kWh)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## Results
Project Summary Table
Standard Rebate Amount | 0
Bonus Rebate Amount | 0
Total Rebate Amount | 0
Project Name | 0
Energy Savings (kWh) | 0
Peak Demand Reduction (kW) | 0
Annual CO2 Pounds Reduction | 0
Measure Summary Table
Space ID | Building Type | Operating Hours | Quantity (pre-existing) | Pre-existing Lamp Description | Quantity | Retrofit Lamp Description | New Control Type | Fixture Savings (kWh) | Controls Savings (kWh) | Total Savings (kWh) | Peak kW Reduction | Standard Rebate Amount | Bonus Rebate Amount | Rebate Amount
0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Fixture Counts (hidden)
Fixture Counts
Note
1. To update list, select a cell in either table, then select Refresh All from PivotTable Tools/Analyze Menu
2. The lists will automatically update each time the spreadsheet file is opened.
Prexisting | Count | New | Count
Grand Total |  | Grand Total

## Calculations (hidden)
Data from Retrofit Input Table | [13 empty] | Calculations
Space ID | Building Type | Operating Schedule | Hours | Quantity | Pre-existing Lamp Type | Pre-existing Fixture Description | Pre-existing Fixture Wattage | New Quantity | New Lamp Type | New Fixture Description | New Fixture Wattage | New Control Type | Control Savings Factor | Preexisting Fixture kW | PostRetrofit kW | Operating hours | Operating hours with new control | CDF | HVAC IE demand | HVAC IE energy | Lighting energy savings (kWh) | Control energy savings (kWh) | Total energy savings (kWh) | Peak KW Reduction (kW) | Rebate level (lighting) | Rebate level (controls) | Rebate Level (Bonus) | Lighting fixture rebate | Controls rebate | Standard Rebate | Bonus Rebate | Total rebate | Prexist type lookup | Count lookup for new fixtures
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0list

## Lookup Tables (hidden)
Lookup Tables
Building Type Values
Building Type | HVAC IE_Energy | HVAC IE_Demand | CDF | Occupancy Sensor Savings Factor | Existing_lamp_type
Assembly | 1.05 | 1.16 | 0.226 | 36% | CFL
Primary School | 1.05 | 1.17 | 0.0484 | 29% | Metal_Halides
Secondary School | 1.07 | 1.25 | 0.15 | 29% | High_Pressure_Sodium
Community College | 1.1 | 1.27 | 0.254 | 18% | T12_Lamp
University | 1.11 | 1.29 | 0.288 | 18% | Fluorescent
Relocatable Classroom | 1.08 | 1.28 | 0.0539 | 18% | T8_4ft_Normal_Ballast
Grocery | 1.03 | 1.18 | 0.735 | 15% | T8_4ft_Low_Ballast
Hospital | 1.04 | 1.22 | 0.704 | 22% | T8_4ft_High_Ballast
Nursing Home | 1.1 | 1.25 | 0.5 | 7% | T8_All_Other_Lengths
Hotel | 1.02 | 1.25 | 0.172 | 7% | User_Defined
Motel | 0.98 | 1.22 | 0.128 | 7% | T5_Lamp
Bio/Tech Manuf. | 1.07 | 1.2 | 0.281 | 7%
Light Industrial Manuf. | 1.02 | 1.16 | 0.256 | 45%
Large Office | 1.12 | 1.19 | 0.272 | 22% | Retrofit_lamp_type
Small Office | 1.06 | 1.17 | 0.256 | 22% | LED
Sit-Down Restaurant | 1.07 | 1.19 | 0.449 | 35% | HID
Fast-Food Restaurant | 1.03 | 1.16 | 0.567 |  | Fluorescent
Department Store | 1.09 | 1.2 | 0.76 | 15% | Other
Big Box Retail | 1.08 | 1.21 | 0.39
Small Retail | 1.06 | 1.18 | 0.43 | 15%
Conditioned Storage | 1 | 1.19 | 0.198 | 31%
Unconditioned Storage | 1 | 1 | 0.229 | 15%
Refrigerated Warehouse | 1.33 | 1.69 | 0.528 | 31%
Exterior | 1 | 1 | 0 | 17%
Filtered_schedule
Schedule_1
Schedule_2
Schedule_3
Schedule_4
Schedule_5 (Multiple)
Schedule_Hours/Day
Schedule_Exterior
Schedule_24x7

## Fixture Tables (hidden)
CFL |  | High_Pressure_Sodium |  | Metal_Halides |  | T12_Lamp |  | T8_4ft_Normal_Ballast |  | T8_4ft_Low_Ballast |  | User_Defined |  | Fluorescent |  | T8_4ft_High_Ballast |  | T5_Lamp |  | T8_All_Other_Lengths
Description | Wattage | Description | Wattage | Description | Wattage | Description | Wattage | Description | Wattage | Description | Wattage | Description | Wattage | Description | Wattage | Description | Wattage | Description | Wattage | Description | Wattage
CFL, 10W, quad, mag ballast | 15 | High Pressure Sodium, (1) 35W lamp | 47 | Metal halide, (1) 20W lamp, electronic ballast | 24 | Fluorescent, 18" T12 lamp | 19 | Bi-level stairwell, hallway, and garage fixture w/ oc, 2-lamp T8 | 48.4 | Fluorescent, 48" (1) 32W T8, BF <0.85 | 25 | LED Highbay | 300 | U-Tube, ES lamp, EEMB | 43 | Fluorescent, 48" (2) 28W T8, BF >1.1 | 65 | Fluorescent, (1) 46", T5/HO lamp, BF normal | 62 | Fluorescent, 18" T8 lamp | 19
CFL, 13W, mag ballast | 17 | High Pressure Sodium, (1) 50W lamp | 66 | Metal halide, (1) 22W lamp, electronic ballast | 26 | Fluorescent, 18" (2) T12 lamps | 38 | Fluorescent, 48" (1) 25W T8, BF normal | 25 | Fluorescent, 48" (2) 25W T8, BF <0.85 | 38 |  |  | U-Tube, T8 lamp | 31 | Fluorescent, 48" (2) 32W T8, BF >1.1 | 74 | Fluorescent, (2) 46", T5/HO lamp, BF normal | 118 | Fluorescent, 24" T8 lamp | 20
CFL, 13W, electronic ballast | 15 | High Pressure Sodium, (1) 70W lamp | 91 | Metal halide, (1) 39W lamp, electronic ballast | 45 | Fluorescent, 24" T12 lamp | 28 | Fluorescent, 48" (1) 32W T8, BF normal | 28 | Fluorescent, 48" (2) 28W T8, BF <0.85 | 42 |  |  | U-Tube, (2) lamps | 59 | Fluorescent, 48" (3) 25W T8, BF >1.1 | 91 | Fluorescent, (2) 46", 54W T5 lamp, BF | 107 | Fluorescent, 24" (2) T8 lamps | 31
CFL, 13W, quad, 2-lamp, electronic ballast | 29 | High Pressure Sodium, (1) 100W lamp | 128 | Metal halide, (2) 39W lamp, electronic ballast | 89 | Fluorescent, 24" (2) T12 lamps | 56 | Fluorescent, 48" (2) 25W T8, 0.96-1.1 | 50 | Fluorescent, 48" (2) 32W T8, BF <0.85 | 48 |  |  | U-Tube, (2) ES lamps, EEMB | 72 | Fluorescent, 48" (3) 28W T8, BF >1.1 | 97 | Fluorescent (3) 46" 54W T5/HO lamp | 182 | Fluorescent, 24" (3) T8 lamps, BF 0.96-1.1 | 48
CFL, 13W, quad, 2-lamp, mag ballast | 31 | High Pressure Sodium, (1) 150W lamp | 188 | Metal halide, (1) 50W lamp, electronic ballast | 56 | Fluorescent, 24" (3) T12 lamps | 68 | Fluorescent, 48" (2) 25W T8, BF normal | 44 | Fluorescent, 48" (3) 25W T8, BF <0.85 | 58 |  |  | U-Tube, (2) T8 lamps | 58 | Fluorescent, 48" (3) 32W T8, BF >1.1 | 111 | Fluorescent (4) 46" 54W T5/HO lamp | 237 | Fluorescent, 24" (4) T8 lamps | 66
CFL, 13W, quad, 3-lamp mag ballast | 48 | High Pressure Sodium, (1) 200W lamp | 230 | Metal halide, (1) 70W lamp, electronic ballast | 80 | Fluorescent, 24" (4) T12 lamps | 100 | Fluorescent, 48" (2) 28W T8, 0.96-1.1 | 53 | Fluorescent, 48" (3) 28W T8, BF <0.85 | 64 |  |  | Circular lamp, 6" dia | 25 | Fluorescent, 48" (4) 25W T8, BF >1.1 | 119 | Fluorescent (6) 46" 54W T5/HO lamp | 355 | Fluorescent, 36" (2) T8 lamps | 46
CFL, 15W, quad, mag ballast | 20 | High Pressure Sodium, (1) 250W lamp | 295 | Metal halide, (1) 100W lamp, electronic ballast | 110 | Fluorescent, 36" (2) T12 lamps | 50 | Fluorescent, 48" (2) 28W T8, BF normal | 48 | Fluorescent, 48" (3) 32W T8, BF <0.85 | 73 |  |  | Circular lamp, 8" dia | 26 | Fluorescent, 48" (4) 28W T8, BF >1.1 | 128 | Fluorescent (8) 46" 54W T5 /HO lamp | 473 | Fluorescent, 60" T8 lamp, BF-normal | 36
CFL, 16W, 2D lamp | 26 | High Pressure Sodium, (1) 310W lamp | 355 | Metal halide, (1) 150W lamp, electronic ballast | 168 | Fluorescent, 48" T12 lamp | 44 | Fluorescent, 48" (2) 32W T8, 0.96-1.1 | 63 | Fluorescent, 48" (4) 25W T8, BF <0.85 | 77 |  |  | Circular lamp, 12" dia | 32 | Fluorescent, 48" (4) 32W T8, BF >1.1 | 146 |  |  | Fluorescent, 60", T8 lamp, BF-HO | 57
CFL, 17W, quad, mag ballast | 24 | High Pressure Sodium, (1) 360W lamp | 414 | Metal halide, (1) 175W lamp, electronic ballast | 194 | Fluorescent, 48" (2) T12 lamps | 74 | Fluorescent, 48" (2) 32W T8, BF normal | 55 | Fluorescent, 48" (4) 28W T8, BF <0.85 | 85 |  |  | Circular lamp, 16" dia | 40 | Fluorescent, 48" (6) 32W T8, BF >1.1 | 227 |  |  | Fluorescent, 60", (2) T8 lamps, BF-VHLO | 102
CFL, 17W, quad, 2-lamp, mag ballast | 48 | High Pressure Sodium, (1) 400W lamp | 464 | Metal halide, (1) 200W lamp, prem. electronic ballast | 215 | Fluorescent, 48" (3) T12 lamps | 114 | Fluorescent, 48" (3) 25W T8, 0.96-1.1 | 70 | Fluorescent, 48" (4) 32W T8, BF <0.85 | 96 |  |  | Circular lamp, 20W | 20 |  |  |  |  | Fluorescent, 60", T12 HO (refrig. display case) | 69
CFL, 18W, quad, mag ballast | 23 | High Pressure Sodium, (1) 750W lamp | 830 | Metal halide, (1) 250W lamp, prem. electronic ballast | 267 | Fluorescent, 48" (4) T12 lamps | 148 | Fluorescent, 48" (3) 25W T8, BF normal | 65 | Fluorescent, 48" (6) 32W T8, BF <0.85 | 146 |  |  | Circular lamp, 22W | 22 |  |  |  |  | Fluorescent, 60" (2) T12 HO (refrig. display case) | 132
CFL, 18W, pin base | 26 | High Pressure Sodium, (1) 1000W lamp | 1100 | Metal halide, (1) 320W lamp, prem. electronic ballast | 343 | Fluorescent, 48" (6) T12 lamps | 216 | Fluorescent, 48" (3) 28W T8, 0.96-1.1 | 76 |  |  |  |  | Circular lamp, 32W | 40 |  |  |  |  | Fluorescent, 60" (2) T8 lamps | 72
CFL, 18W, pin base, electronic ballast | 20 |  |  | Metal halide, (1) 350W lamp, prem. electronic ballast | 374 | Fluorescent, 60" T12 lamp | 63 | Fluorescent, 48" (3) 28W T8, BF normal | 71 | [10 empty] | Fluorescent, 60" (4) T8 lamps | 134
CFL, 18W, quad, electronic ballast | 20 |  |  | Metal halide, (1) 400W lamp, prem. electronic ballast | 428 | Fluorescent, 60" T12 HO lamp | 92 | Fluorescent, 48" (3) 32W T8, 0.96-1.1 | 90 | [10 empty] | Fluorescent, 72", T12 HO (refrig. display case) | 120
CFL, 18W, quad, 2-lamp, mag ballast | 44 |  |  | Metal halide, (1) 32W lamp, mag ballast | 43 | Fluorescent, 60" (2) T12 lamps | 126 | Fluorescent, 48" (3) 32W T8, BF normal | 82 | [10 empty] | Fluorescent, 72" (2) T12 HO (refrig. display case) | 194
CFL, 18W, quad, 2-lamp, electronic ballast | 36 |  |  | Metal halide, (1) 50W lamp, mag ballast | 61 | Fluorescent, 60" (2) T12 HO lamps | 184 | Fluorescent, 48" (4) 25W T8, 0.96-1.1 | 99 | [10 empty] | Fluorescent, 96" (2) T8 lamps, BF<0.85 | 98
CFL, 20W, quad, mag ballast | 23 |  |  | Metal halide, (1) 70W lamp, mag ballast | 88 | Fluorescent, 60" (4) T12 lamps | 226 | Fluorescent, 48" (4) 25W T8, BF normal | 86 | [10 empty] | Fluorescent, 96" (1) T8 lamp | 57
CFL, 20W, quad, 2-lamp, mag ballast | 46 |  |  | Metal halide, (1) 100W lamp, mag ballast | 128 | Fluorescent, 96" T12 lamp | 90 | Fluorescent, 48" (4) 28W T8, 0.96-1.1 | 107 | [10 empty] | Fluorescent, 96" (4) T8 lamps | 220
CFL, 22W, quad, mag ballast | 24 |  |  | Metal halide, (1) 150W lamp, mag ballast | 190 | Fluorescent, 96" T12 lamp, HO | 110 | Fluorescent, 48" (4) 28W T8, BF normal | 95
CFL, 22W, quad, 2-lamp, mag ballast | 48 |  |  | Metal halide, (1) 175W lamp, mag ballast | 210 | Fluorescent, 96" (2) T12 lamps | 165 | Fluorescent, 48" (4) 32W T8, 0.96-1.1 | 114
CFL, 22W, quad, 3-lamp, mag ballast | 72 |  |  | Metal halide, (1) 250W lamp, mag ballast | 294 | Fluorescent, 96" (2) T12 lamp, HO | 205 | Fluorescent, 48" (4) 32W T8, BF normal | 109
CFL, 26W, quad, mag ballast | 33 |  |  | Metal halide, (1) 400W lamp, mag ballast | 458 | Fluorescent, 96" (4) T12 lamps | 330 | Fluorescent, 48" (6) 32W T8, BF normal | 164
CFL, 26W, quad, electronic ballast | 28 |  |  | Metal halide, (2) 400W lamp, mag ballast | 916
CFL, 26W, quad, 2-lamp, mag ballast | 66 |  |  | Metal halide, (1) 750W lamp, mag ballast | 850
CFL, 26W, quad, 2-lamp, electronic ballast | 52 |  |  | Metal halide, (1) 1000W lamp, mag ballast | 1080
CFL, 26W, quad, 3-lamp, mag ballast | 99 |  |  | Metal halide, (1) 1500W lamp, mag ballast | 1605
CFL, 26W, quad, 6-lamp, , electronic ballast | 150
CFL, 32W, quad, electronic ballast | 34
CFL, 32W, quad, 2-lamp, electronic ballast | 62
CFL, 40W, quad, electronic ballast | 43
CFL, 40W, quad, 2-lamp, electronic ballast | 72
CFL, 50W, twin, electronic ballast | 61
CFL, 55W, twin, electronic ballast, BF<0.94 | 59
CFL, 57W, triple, electronic ballast, BF=0.94 | 60

## SVP Use Only (hidden)
Accelerated Replacement Projects (for SVP use only)
Used for entering project savings into Sales Force and CET RP
ENTER total project cost (labor and materials) |  | 5000
|  | First baseline |  |  |  | Second baseline
Quantity | Rebate | Energy Savings (KWh) | Peak Demand Reduction (kW) | EUL | RUL | Energy Savings (KWh) | Peak Demand Reduction (kW) | Participant cost, AR
0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0!
Measure Calculations for Second Baseline
Existing Fixture Lamp Type | Quantity | New Fixture Lamp Type | New Control Type | Rebate | Energy Savings (KWh) | Peak DR (kW) | EUL | RUL | Energy Savings, second baseline | Peak DR, second baseline
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
Total | 0 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0
Table Notes:
1. Existing lamp or fixture type - used to determine savings reduction factor for 2019 calendar year projects
2. The second baseline savings is estimated by multipying the savings reduction factor by the first year savings.
1. EUL and RUL totals are weighted averages.
2. RUL = EUL/3
3. Energy savings, second baseline = energy savings (kWh) - (energy savings (kWh) * Savings reduction factor for existing lamp type)
4. Demand reduction, second baseline = Peak demand reduction (kW) - (Peak demand reduction (kW)* savings reduction factor for existing lamp type)
5. Participant cost test for accelerated replacement - see Participant Cost notes for formula and input assumptions
Participant Cost - Accelerated Replacement
Notes
1 | For AR, the participant cost = full measure cost - (full measure cost - incremental cost/(1+discount rate^RUL), where the discount rate is: | [7 empty] | 5%
2 | Incremental cost can vary significantly depending on the type of retrofit. The initial estimate is 50% of full measure cost (see below calculation)
3 | Initial Estimate for incremental cost:
Incremental cost is equal to the difference in costs between what was installed compared to what would have been installed. If what would have been installed was a replacement of the same preexisting lighting type, then the cost is equal to the difference between the installed equipment and the replacement option. The implicit assumption is the labor costs would be the same for both options. If a code-compliant lighting type would have been installed, then the cost is equal to the difference between the installed equipment and the code-compliant option. Incremental costs can vary, so the initial assumptions used to estimate the incremental cost as a percentage of the full measure cost is as follows:
[9 empty] | Installed equipment cost | 67% | Weighting | Weighting x % cost
[9 empty] | a. Incremental cost is nearly equal to the cost of the installed equipment (baseline is simple lamp replacement) | 63.65% | 70% | 44.55%
[9 empty] | b. Incremental cost is equal to cost of installed equipment compared to code-compliant equipment, and the difference is 30% | 20% | 30% | 6%
[9 empty] | Incremental cost as a percent of full measure cost | 50.55%
Through December 31, 2019: Second baseline savings reduction factor for different existing fixture types
Type | Savings Reduction Factor
CFL | 0% | Assumes preexisting fixture meets/exceeds code requirements (above code measure)
Metal_Halides | 20% | Assumes older metal halide fixture is replaced and T24 control requirements apply (below and above code measure)
High_Pressure_Sodium | 20% | Assumes older fixture is replaced and T24 control requirements apply (below and above code measure)
T12_Lamp | 100% | Assumes the measure installed marginally meets code requirements or is ISP (below code measure)
Fluorescent | 100% | Assumes measure installed is required by state (T20) and federal code (EISA) requirements, or is ISP (below code measure)
T8_4ft_Normal_Ballast | 10% | Assumes T24 control requirements apply and reduces savings potential for a majority of the rebated projects (above code measure)
T8_4ft_Low_Ballast | 10% | Assumes T24 control requirements apply and reduces savings potential for a majority of the rebated projects (above code measure)
T8_4ft_High_Ballast | 10% | Assumes T24 control requirements apply and reduces savings potential for a majority of the rebated projects (above code measure)
T8_All_Other_Lengths | 10% | Assumes T24 control requirements apply and reduces savings potential for a majority of the rebated projects (above code measure)
User_Defined | 100% | Assumes measure installed is required by state (T20) and federal code (EISA) requirements, or is ISP (below code measure)
T5_Lamp | 0% | Assumes preexisting fixture meets/exceeds code requirements (above code measure)
January 1, 2020: Second baseline savings reduction factor
Type | Savings Reduction Factor
All types | 100% | Assumes all savings are below code, as 2019 T24 requirements are based on LED lamp
NLC | 65% | Assumes that network lighting controls and fixtures exceed code requirements by 35%
Note on H15: Assumed LED lamp rated life of 50,000 hours divided by annual operating hours, or a maximum of 15 years. For non-LED lamps, use installed lamp rate life instead of LED lamp rated life